## Slide 1
CT Reconstruction – Cone-beam: Approx
Ge Wang
AI-based X-ray Imaging System (AXIS) Lab
Rensselaer Polytechnic Institute, Troy, New York, USA
September 12, 2023

## Slide 2: Homework
What is the angular range [0, x] for β so that fan-beam projection data meet the sufficient condition for image reconstruction? In other words, x=?

## Slide 3: Homework Hint

## Slide 4: Outline
Motivation
Fan- to Cone-beam Geometry
Long & Flat Object Problems
Heuristics for Spiral CT
  Fan-beam Spiral CT
  Cone-beam Spiral CT
Clinical Applications

## Slide 5: Equi-spatial Fan-beam Formula
Wang, Lin, Cheng: IEEE TIP 2:543-547, 1993

## Slide 6: Otherwise, D’(β)=Dβ in the Formula
https://www.osapublishing.org/josa/abstract.cfm?uri=josa-70-8-931
If You Have Dβ in the Formula, the Reconstruction Is Sensitive to Trajectory Noise;
If You Resort Data to the Parallel-beam Format, You Compromise Image Resolution.

## Slide 7: Hint: Where is the Error?

## Slide 8: CT Scanning Modes

## Slide 9: Cone-beam μCT System (1990)
Advanced Microscopic Imaging Lab, SUNY/Buffalo

## Slide 10: General Cone-beam Scanning
https://ieeexplore.ieee.org/stamp/stamp.jsp?tp=&arnumber=241876

## Slide 11: Broken-line Orbit with E-beam Scan

## Slide 12: Cone-beam Spiral CT

## Slide 13: High-tech Flat Object

## Slide 14: Outline
Motivation
Fan- to Cone-beam Geometry
Long & Flat Object Problems
Heuristics for Spiral CT
  Fan-beam Spiral CT
  Cone-beam Spiral CT
Clinical Applications

## Slide 15: Fan-beam Spiral/Helical CT

## Slide 16: Spiral/Helical/Volumetric CT
x
y
z
Source
Helical Locus
Detector Array
Incomplete projection data for any transaxial plane

## Slide 17: Linear Interpolation & Extrapolation
x
y=f(x)
xe
xi
x2
x1
Xi: Interpolation point
Xe: Extrapolation point

## Slide 18: Full-Scan Interpolation (FI, 360LI)
x
y
z
Ray A

## Slide 19: Half-Scan Interpolation (HI, 180LI)
x
y
z
Ray A

## Slide 20
Half-Scan Extrapolation
Ray A
Ray B
x
y
z
z

## Slide 21: Slice Sensitivity Profile (SSP)

## Slide 22: Minus: Wider Slice Sensitivity Profile
Spiral CT increases the SSP as compared to
incremental CT due to continuous table motion
mm
Spiral/Helical CT
Incremental CT Slice Thickness
CT Number

## Slide 23: Longitudinal Motion Blurring
Spiral Scanning
Through-plane motion artifacts are
suppressed by single-breath-hold spiral scanning but longitudinal motion blurring is introduced
Conventional Scanning
(From JA Brink at Yale U)

## Slide 24: Plus: Denser Retrospective Recon
Scanning loci
Slices
Scanning locus
Slices
Direct reconstruction
Retrospective
reconstruction

## Slide 25: Finer Longitudinal Sampling
Direct reconstruction
Retrospective
reconstruction

## Slide 26: Longitudinal Bandwidth Comparison
Conventional CT
Spiral CT
One-tenth
cutoff
Mean
square-root
Collimation =
Table feed

## Slide 27: Spiral CT: Better Resolution
“For a given X-ray dose,
helical CT allows substantially better
longitudinal resolution than
conventional CT due to
its inherent retrospective
reconstruction capability.”
        Wang and Vannier
        Medical Physics 21:429-433, 1994

## Slide 28: Narrow to Wide Cone-beam Angle

## Slide 29: Spiral Cone-beam Geometry
To solve the long object problem, the spiral/helical cone-beam scanning mode and an approximate reconstruction algorithm were first proposed by Wang et al. in 1991
Wang et al.: Scanning cone-beam reconstruction algorithms for x-ray microtomography. Proc. SPIE v. 1556, p. 99-112, July 1991
Detector
Plate
Source
Object
General Locus

## Slide 30: Citation Counts
To solve the long-object problem, a first level of improvement with respect to the 2D FBP algorithms was obtained by backprojecting the data in 3D, along the actual measurement rays. The prototype of this approach is the algorithm of Wang et al.
Defrise, Noo, Kudo: A solution to the long-object problem in helical cone-beam tomography. Phys. Med. Biol. 45:623-643, 2000
Many advances in CB reconstruction have been made recently thanks to the quest for an attractive reconstruction method in helical CB tomography.
Pack, Noo, Clackdoyle: Cone-beam reconstruction using the backprojection of locally filtered projections. IEEE Trans. Medical Imaging 24:1-16, 2005
~200M Multi-slice/Cone-beam CT Scans Annually

## Slide 31: Cone-beam Geometry
The detector plane mapped onto
the t-z plane
(which is convenient, being consistent to the fan-beam case)

## Slide 32: Cone-beam to Fan-beam Data

## Slide 33: Cone-beam Scanning
β
α
General Scanning Trajectory

## Slide 34: Cone-Beam to Fan-Beam Data

X-ray source
Virtual in-plane
X-ray source
Object point
Tilted fan
Tilting angle

## Slide 35: Another View of Cosine Correction
Wang G, Zhao SY, Cheng PC: Exact and approximate cone-beam X-ray microtomography (Chap. 1). Focus on multidimensional microscopy (I) (Editors: Cheng PC, Huang PP, Wu JL, Wang G, Kim HG), World Scientific, Singapore, 233-261, 1999

## Slide 36: Obliqueness Correction
Obliqueness Correction in Fan-beam Formula
Obliqueness Correction in Cone-beam Formula
An X-ray Hits the 2D Detector Plate Obliquely, Determined by Two Angles

## Slide 37: Outline
Motivation
Fan- to Cone-beam Geometry
Long & Flat Object Problems
Heuristics for Spiral CT
  Fan-beam Spiral CT
  Cone-beam Spiral CT
Clinical Applications

## Slide 38: Helical/Spiral CT Angiography

## Slide 39: Lung CT Images & Rendering

## Slide 40: Contrast-enhanced CT

## Slide 41: Airport CT Screening

## Slide 42: Homework
Understand the derivation steps (Eqs. (1) – (10)) in the 1st cone-beam spiral CT paper: https://ieeexplore.ieee.org/stamp/stamp.jsp?tp=&arnumber=241876
Then, please explain why the algorithm is approximate? Under which condition(s) will the cone-beam reconstruction be exact?