## Slide 1
CT Physics
Ge Wang
AI-based X-ray Imaging System (AXIS) Lab
Rensselaer Polytechnic Institute, Troy, New York, USA
September 1, 2023
Notes: Hello, since Professor Wang has a conference today out of town, I will give this hands-on introduction based on this PPT we prepared together. As he mentioned last time, we will have deep learning final projects by the end of the semester. Tentatively, we will have five lectures on deep learning hands-on, including this one.

## Slide 5: Outline
X-ray Nature
Wave
Particle
X-ray Attenuation
Mechanisms
  Beer’s Law
X-ray Tubes/Sources & Detectors
Sources & Detectors
X-ray Radiography
Radiation Dose
Dosimetry
Low-dose CT

## Slide 6: X-ray Waves
0.01-10nm
https://nau.edu/cefns/labs/electron-microprobe/glg-510-class-notes/signals/%23Absorption_of_electromagnetic_radiation

## Slide 7: X-ray Interference

## Slide 8: X-ray Photons

## Slide 9: Delayed-Choice Experiments

## Slide 10: X-ray Grating Interferometric Results
Attenuation
Phase-contrast
Dark-field
Trachea Invisible in Attenuation
Hair Invisible in Attenuation
Cartilage
Texture of Muscle

## Slide 11: Quantum Principle of Relativity
The 1st postulate (Relativity)
The physical laws are the same in all inertial frames.
The 2nd postulate (Speed of Light)

## Slide 12: Outline
X-ray Nature
Wave
Particle
X-ray Attenuation
Mechanisms
  Beer’s Law
X-ray Tubes/Sources & Detectors
Sources & Detectors
X-ray Radiography
Radiation Dose
Dosimetry
Low-dose CT

## Slide 13: X-ray Interactions with Matter
Types of Interaction between an X-ray photon and the atom of irradiated matter
for x-ray beam energy 15-150keV (adapted from Seibert J.A and Boone J.M., 2005)

## Slide 14: Linear & Mass Attenuation
http://www.sprawls.org/ppmi2/INTERACT/
The Same Amount of Material

## Slide 15: X-ray Attenuation Curves
https://openi.nlm.nih.gov/detailedresult.php?img=PMC3259372_13244_2010_57_Fig1_HTML&req=4
It Depends on Both Material and Energy!

## Slide 16: Two Basis Functions
Material
Energy

## Slide 17: Klein–Nishina Function
Klein–Nishina distributions of scattering over a range of x-ray energies
https://en.wikipedia.org/wiki/Klein%E2%80%93Nishina_formula

## Slide 18: Beer’s Law (Monochromatic Light)
https://www.slideshare.net/MorshedulHaque/beer-lamberts-law
http://www.sprawls.org/ppmi2/RADPEN/

## Slide 19: Mono- & Poly-Data Models
Energy
Spectrum

## Slide 20: Outline
X-ray Nature
Wave
Particle
X-ray Attenuation
Mechanisms
  Beer’s Law
X-ray Tubes/Sources & Detectors
Sources & Detectors
X-ray Radiography
Radiation Dose
Dosimetry
Low-dose CT

## Slide 21: X-ray Tube: Simple View
http://www.dmlp.org/legal-guide/fair-use
kVp

## Slide 22: X-ray Tube: Pretty View
kVp

## Slide 23: X-ray Spectrum
kVp
AU - Roque, Rita
PY - 2018/06/13
T1 - X-ray imaging using 100 μm thick Gas Electron Multipliers operating in Kr-CO2 mixtures
DO - 10.13140/RG.2.2.16794.49600

## Slide 24: E-beam Scanner

## Slide 25: Energy-integrating Detector

## Slide 26: Beer’s Law to Linear Equation

## Slide 27: Anti-scatter Grid
Without Grid
With Grid

## Slide 28: X-ray “Dissectography” / X-ray Stereography

## Slide 29: Radiography/Mammography

## Slide 30: Breast Tomosynthesis
20-49kVp

## Slide 31: Breast CT
49kVp, 200mA, 8ms Pulse Width

## Slide 32: Mathematical Insight
Radiography
(Single View)
Tomography
(Full Scan)

## Slide 33: Mathematical Insight
Radiography
(Single View)
Tomosynthesis
(Limited Angle)
Tomography
(Full Scan)

## Slide 34: Physical Insight
Radiography
(Lowest kVp)
Tomosynthesis
(Modest kVp)
Tomography
(Highest kVp)
20-49kVp
49kVp

## Slide 35: Ballpark Analysis
Key Points
kVp should be low to maximize Δµ
kVp should be high to minimize noise

## Slide 36: Outline
X-ray Nature
Wave
Particle
X-ray Attenuation
Mechanisms
  Beer’s Law
X-ray Tubes/Sources & Detectors
Sources & Detectors
X-ray Radiography
Radiation Dose
Dosimetry
Low-dose CT

## Slide 37: Ionizing Radiation Effects
Ionizing: Free Electrons in Biological Tissue
  Stochastic Risks
    Cell Injury/Death
    Cell Modification toward Malignancy or Genetic Damage
  Deterministic Damages
    Complete Tissue Damage above a Threshold
    Severe Tissue Reaction
  Potential Benefits??
    Evolutionary?
    Dropout Effect?

## Slide 38: Equivalent Dose (Radiation Normalized)
Absorbed Dose D [Gray (Gy)]
  1 Gy = 1 J/kg
  Cataract Risk per 5 Gy: 100%
Equivalent Dose HT in Tissue t [Sievert (Sv)]
Ht = Σr crDt,r
  Dt,r: Absorbed Radiation of Type r in Tissue of Type t
  cr : Weighting Radiation (1 for X-ray, 20 for α Particles)
  1 Sv = 1 Gy * 1 (for X-ray, Others Made Equivalent to X-ray)
  Lung Cancer Risk per Sv: 1.14%

## Slide 39: Effective Dose (Radiation & Tissue Normalized)
Effective Dose E: Overall Detriment [in Sievert (Sv)]
  E = ΣtdtHt
  dt : Weighting Tissue
  Lung, Breast: 0.12
  Gonads: 0.08
  Bladder, Liver: 0.04
  Brain, Skin: 0.01

## Slide 40: Effective Doses for Typical Imaging Exams
https://www.grepmed.com/images/1829/patientinfo-procedures-comparison-radiology-chestxray-radiation-imaging

## Slide 41: Low-dose CT

## Slide 42: Out of Box Solution

## Slide 43: Homework
Please discuss if we only take one x-ray radiograph of an object (say a breast), should we compress the object or not for better screening or diagnosis?