## Slide 1
CT Reconstruction – Cone-beam: Exact
Ge Wang
AI-based X-ray Imaging System (AXIS) Lab
Rensselaer Polytechnic Institute, Troy, New York, USA
September 15, 2023

## Slide 2: Optical CT Project

## Slide 3: Equi-spatial Fan-beam Formula
Wang, Lin, Cheng: IEEE TIP 2:543-547, 1993

## Slide 4: Hint: Where is the Error?

## Slide 5: Where is the Error?

## Slide 6: Where is the Error?

## Slide 7: Peeling a 2D Onion
A tangent ray touches only one point, hence the peripheral shell can be directly measured
Layer by layer the disk image can be recovered

## Slide 8: Probing Waves
No any info in projection data along non-orthogonal directions
Info in projection data along the orthogonal direction

## Slide 9: Outline
Recon with 2D Planar or 2D Parallel-beam Data
Peeling a 3D Onion
Two Fourier Slice Theorems in 3D
Orlov Condition
Conversion between Planar & Parallel-beam Data
Recon with Cone-beam Data
  Difficulty with Beam Divergence
  Grangeat Relationship

## Slide 10: Planar & 2D Parallel-beam Data

## Slide 11: Peeling a 3D Onion

## Slide 12: 1st Format: Planar Integral (2D)

## Slide 13: First Slice Theorem in 3D
(Direction, Distance)

## Slide 14: 2nd Format: Parallel Projection (2D)

## Slide 15: Second Slice Theorem in 3D
3D Fourier Transform
2D Fourier Transform

## Slide 16: Half-scan
u
v
O
Imagine that the normal vector of the green plane y-z turns 180° in the x-y plane…
Number of Entering the Front Surface = 1 Or
Number of Entering the Back Surface = 1 for Any 3D Point
w

## Slide 17: Wobbling
Imagine that the normal vector of the green plane y-z wobbles with respect to the origin O but eventually returns to the original location along the x axis…
u
v
w
O
Number of Entering the Front Surface =
Number of Entering the Back Surface for Any 3D Point

## Slide 18: Orlov Condition
A complete dataset can be obtained if every great circle intersects the trajectory of the unit directional vector, which is the direction of the parallel beam of x-rays.
S.S. Orlov, “Theory of three dimensional reconstruction. I. Conditions for a complete set of projections,” Sov. Phys. Crystallogr., vol. 20, no. 3., pp. 312–314, 1975.

## Slide 19: Orlov Scan = Wobbling + Half-scan
Each Point in the 3D Fourier Space Must Have Been Measured!
The scanning trajectory continuously connects the two ends of a diameter of the unit sphere.

## Slide 20: Line Integrals ↔ Planer Integrals
All line integrals to all planar integrals
All planar integrals to all line integrals

## Slide 21: Projection Data to Planar Integral Data
2D parallel-beam projection data can be organized along parallel lines on the 2D projection plane into planer integral data

## Slide 22: Projection Data to Planar Integral Data

## Slide 23: Planar Integral Data to Projection Data
Each planar integral gives a line integral value for the projected “object” on the x’-y’s plane

## Slide 24: Planar Integral Data to Projection Data
Each data point is a planar integral
Each reconstructed image pixel is a line integral
Reconstructed image is a 2D parallel-beam projection on the x’-y’ plane

## Slide 25: No Redundancy in Planar Integrals

## Slide 26: Redundancy in 2D Projections

## Slide 27: Outline
Recon with 2D Planar or Parallel-beam Data
Peeling a 3D Onion
Two Fourier Slice Theorems in 3D
Orlov Condition
Conversion between Planar & Parallel-beam Data
Recon with Cone-beam Data
  Difficulty with Beam Divergence
  Grangeat Relationship

## Slide 28: 3rd Format: Cone-beam Projection
X-ray
Source
System
Origin

## Slide 29: Problem with r
We need planer integrals
What we measure is line integrals in a divergent beam
r
p
β
X-ray
Source
System
Origin
Vertical plane specified by p(α)
Point in the plane specified by r and β
α
Find a reference plane (red circle). Then, a vertical plane can be specified by p (α) from the system origin, and any point in the plane can be specified by r and β from the source

## Slide 30: Grangeat Relationship
https://www.uni-muenster.de/AMM/num/Preprints/1998/natterer_1/paper.html/node16.html
https://link.springer.com/chapter/10.1007/BFb0084509

## Slide 31: From Cone-beam to Planar Data
What we need is parallel-beam or planer data
What we measure is line integrals in a divergent beam
r
p
β
X-ray
Source
System
Origin
α
Find a reference plane (red circle). Then, a vertical plane can be specified by p (α) from the system origin, and any point in the plane can be specified by r and β from the source

## Slide 32: Measured Spherical Surface (Diameter=D)
Source
Origin
D

## Slide 33: Measured & Missing Radon Data

## Slide 34: Data Sufficiency in 2D
There exists at least a source on any line
intersecting a cross-section
These represent the maximum amount of data you can measure, which are sufficient

## Slide 35: Data Sufficiency in 2D
At least a point on a source orbiton any line in an object

## Slide 36: Data Sufficiency in 3D
At least a point on a source orbit on any plane in an object

## Slide 37: Data Sufficient Conditions
Planar Data Case:
All planar integrals are available
Parallel-beam Case:
Any great circle meeting at least a unit vector as the 2D parallel-beam projection direction
Any continuous curve closing a diameter
Cone-beam Case:
(Parallel-beam geometry is a special case of cone-beam geometry)
Any plane containing at least a source point

## Slide 38: Homework
Understand the derivation steps (Eqs. (1) – (10)) in the 1st cone-beam spiral CT paper: https://ieeexplore.ieee.org/stamp/stamp.jsp?tp=&arnumber=241876
Then, please explain why the algorithm is approximate? Under which condition(s) will the cone-beam reconstruction be exact?

## Slide 40: Exact Stereo-gram Synthesis
x
y
z
z’
y’
x’
G. Wang, S. Y. Zhao and P. C. Cheng, “Exact and approximate conebeam x-ray microtomography” Focus on Multidimensional Microscopy, vol. 1, ed P C Cheng, P P Huang, J L Wu, G Wang and H G Kim (Singapore: World Scientific) chapter 1, pp 233–261, 1999
https://ieeexplore.ieee.org/document/4179791/

## Slide 41: Bend X-rays?

## Slide 42: Homework

## Slide 43: Homework
Review the Key Ideas for Recon with 2D Planar or Parallel-beam Data (Two Fourier Slice Theorems in 3D, Orlov Condition)
Optional: Write One Page Explaining the Grangeat Relationship
https://www.uni-muenster.de/AMM/num/Preprints/1998/natterer_1/paper.html/node16.html
https://link.springer.com/chapter/10.1007/BFb0084509